Title 15

BUILDINGS AND CONSTRUCTION

Chapters:

15.04	Building Codes-deleted by  Ord. #02-2000 effective 1-6-2000

15.08	Electrical Code- deleted by  Ord. #02-2000 effective 1-6-2000

15.12	Fire Prevention Code

15.16	Plumbing Code and Plumbers

15.18	Demolition

15.20	Flood Protection

15.24	Trailer Courts

Chapter 15.04

Building Codes

Refer to International Building Codes.

Chapter 15.08

Electrical Codes

Refer to International Electrical Codes.

Chapter 15.12

FIRE PREVENTION CODE

Sections:

15.12.010	Copies available.

15.12.020

15.12.030	Violation--Penalty.

15.12.010	Copies available.  The National Fire Protection Association Fire 			Code Book is available online http://www.nfpa.org/codes-and-			standards/document-information-pages?mode=code&code=1

15.12.020	The Town of Hot Springs endorses the most recent version of the 			NFPA Fire Code.

15.12.030	Violation--Penalty.  Any and all penalties in the fire prevention code 		are replaced by the following penalty provisions:

Any person violating a provision of this chapter shall be subject to the general 	penalty provided in this municipal code.

(Prior code Section 8-7-04)

15-1

Chapter 15.16

PLUMBERS

Sections:

ARTICLE II.

PLUMBERS

15.16.040	License--Requirements.

15.16.050	License--Scope.

15.16.060	Permit--Required.

15.16.070	Permit--Application.

15.16.080	Repairs defined.

15.16.090	Inspection--Required.

15.16.100	Inspection--Fee.

15.16.110	Revocation of licenses and permits.

15.16.120	Violation--Penalty.

ARTICLE II.

PLUMBERS

15.16.040	License--Requirements.

A.	Every person working at the business of plumbing within the limits 	of the town shall hold a valid plumber's license from the state; provided, however, 	that if no plumber holding a state license is available within the town, the sewer 	commissioner may license qualified plumbers who do not hold state licenses, for 	work within the town.

B.	The plumber's license granted by the town shall run for the period 	of one year, and may be renewed for additional periods of one year each by the sewer 	commissioner; provided, that no plumber holding a state license is yet available in the 	town.  The fee for the plumber's license issued by the town shall be as set forth in the 	table of fees in the appendix to this code.  (Prior code Section 4-6-01)

15.16.050	License--Scope.  A plumber's license, whether issued by the state or 	the town, shall not exempt a plumber from the requirement of obtaining a town 	business license, as provided elsewhere in this code.  (Prior code Section 4-6-02)

15.16.060	Permit--Required.

- No person shall begin any work other than repairs on any plumbing within the town without having first obtained a written permit for the work from the sewer department.

15-2

- The permit shall be present at the job site the whole time the work is in progress, and shall be exhibited to any official of the town upon request.  (Prior code Section 4-6-11)

15.16.070	Permit--Application.

A.	Application for the permit required in this chapter shall be made at 		the office of the sewer commissioner.

B.	Application forms shall be available from the office of the sewer 			commissioner upon request.

C.	Applications shall be in writing, and shall include a plan and 			description of the work to be done.  No permit shall be granted for 		work which substantially deviates from the technical requirements 			set forth in the plumbing code adopted by the town.  (Prior code 			Section 4-6-12)

15.16.080	Repairs defined.  As used in this chapter, "repairs" means the 			mending of leaks in drains, soil, waste and vent pipes, the mending 		of faucets, valves and water supply pipes, and the forcing out of 			waste from pipes; however, "repairs" does not include any work 			done in a building condemned by the board of health. (Prior code 			Section 4-6-13)

15.16.090	Inspection--Required.

A.	All work done under a permit required by this chapter shall be 			subject to inspection.

B.	The inspection fee shall be used to pay the costs of such inspection.

C.	The sewer commissioner shall not appoint a plumber, or an 			employee of that plumber, to inspect the plumber's own work.  			(Prior code Section 4-6-22)

15.16.100	Inspection--Fee.  At the time of application for a plumbing permit, 		the applicant or his agent shall pay to the sewer commissioner the 			plumbing inspection fee set forth in the table of fees in the 			appendix to this code.  (Prior code Section 4-6-21)

15.16.110	Revocation of licenses and permits.

A.	Any license or permit granted under the provisions of this chapter 			may be revoked or annulled by the sewer commissioner for 			violation of the provisions of this chapter, or for failure to carry out 		work in a proper and workmanlike manner.  The notice shall set 			forth the reasons for revocation or annulment;

B.	A permit or license shall not be reissued until the cause of the 			revocation or annulment has been removed or abated.  (Prior code 		Section 4-6-31)

15-3

15.16.120	Violation--Penalty.  Any person found guilty of a violation of any 	provision of this chapter shall be subject to the general penalty provided in this code.  	In addition, a fine of not less than twenty-five dollars per day may be levied against 	any person who continues in violation of this section after conviction.  (Prior code 	Section 4-6-41)

15-4

# Chapter 15.18

# Demolition

Sections:

    - Permit Required

    - Permit Required

A.	Application for the permit required in this chapter shall be made at Town Hall.

B.	Application forms shall be available from the town clerk upon request.

C.        Applications shall be in writing, and shall include a plan and description of                                      	            the work to be done.

D.        Inspection for asbestos is required for all demolitions.

15-5

Chapter 15.20

FLOOD PROTECTION

Sections:

15.20.010	Participation--General requirements.

15.20.010	Participation--General requirements.

A.          The town shall participate in NFIP.

B.           The town adopts by reference the most recent edition of the Flood 		              Insurance Rate Map (FIRM) as promulgated on October 15, 1985, 			              as the basis for determining designated floodplain areas; and

C.           For complete information refer to Title 19 FLOODPLAIN.

15-6

Chapter 15.24

TRAILER COURTS

Sections:

15.24.010	Definitions.

15.24.020	General regulations.

15.24.030	Site requirements generally.

15.24.040	Trailer coach spaces.

15.24.050	Parking.

15.24.060	Service Buildings.

15.24.070	Toilet facilities.

15.24.080	Lavatories.

15.24.090	Laundry facilities.

15.24.100	Water supply.

15.24.110	Refuse disposal.

15.24.120	Electricity.

15.24.130	Fuel.

15.24.140	Alterations or additions to coaches.

15.24.150	Registration of occupants.

15.24.160	Reporting of communicable diseases.

15.24.170	Enforcement authority.

15.24.180	Subdivision and sanitation requirements.

15.24.010	Definitions.  The following words and phrases, when used in this 	chapter, shall have the meanings ascribed to them in this section:

"Dependent trailer coach" is a trailer coach which does not have a toilet and bath or 	shower.

"Independent trailer coach" is a trailer coach which has a toilet and a bath or shower.

"Service building" means a building housing separate toilet and bathing facilities for 	men and women and also having laundry facilities and a slop sink.

"Trailer coach" is any vehicle used or so constructed as to permit its being used as a 	conveyance upon the public streets or highways and duly licensable as such and 	constructed in such a manner as will permit occupancy thereof as a dwelling or 	sleeping place for one or more persons.

"Trailer coach space" means a plot of ground within a trailer court designated for the 	accommodation of one trailer coach.

"Trailer court" means any plot or ground upon which two or more trailer coaches, 	occupied for dwelling or sleeping purposes, are located.  (Prior code Section 8-3-01)

15.24.020	General regulations.  All trailer courts within the town shall be 	constructed, maintained and operated in accordance with the regulations provided in 	this chapter.  (Prior code Section 8-3-02)

15-7

15.24.030	Site requirements generally.  Every trailer court shall be on a well-drained site, so located that its drainage will not endanger any water supply.  All trailer courts shall be in areas free from marshes, swamps or other potential breeding places for insects or rodents.  (Prior code Section 8-3-03)

15.24.040	Trailer coach spaces.  Each trailer coach space shall contain a minimum of one thousand square feet, shall be at least twenty-five feet wide, and shall abut on a driveway or other clear area with unobstructed access to a public street.  Such spaces shall be clearly defined, and trailer coaches shall be parked in such spaces so that there is a minimum of fifteen feet between trailer coaches, and so that no trailer coach is less than ten feet from the exterior boundary of the trailer court.  (Prior code Section 8-3-04)

15.24.050	Parking.  No trailer coach shall be parked closer than twenty-five feet from any street or highway, or so that any part of such trailer coach obstructs any roadway or walkway.  No trailer coach shall be allowed in a trailer court unless there is a trailer coach space available.  Sufficient area shall be provided for the parking of at least one motor vehicle for each trailer coach space.  (Prior code Section 8-3-05)

15.24.060	Service buildings.

A.	Each trailer court shall be provided with one or more service buildings adequately equipped with flush-type fixtures.  No service building shall contain less than two toilets for women, one toilet for men, two lavatories and one shower for each sex, a urinal for men, a laundry tray and a slop sink.  These minimum fixtures will be adequate to serve up to twenty dependent trailer coaches and any number of independent trailer coaches.  Additional fixtures shall be provided in the ratios set forth in this chapter.

B.	Every service building shall meet the following requirements:

1.	Be located not more than two hundred feet from any

dependent trailer coach, nor less than fifteen feet from any trailer

coach;

2.	Be of permanent construction and be provided with adequate 		light, heat and ventilation;

3.	The interior to be of moisture-resistant material to permit

frequent washing and cleaning

4.	All rooms to be well ventilated with all openings screened.

(Prior code Sections 8-3-11, 8-3-15)

15.24.070	Toilet facilities.  Toilet facilities for women shall consist of at least one flush-type water closet for every ten dependent trailer coaches and toilet facilities for men shall consist of one flush-type water closet or urinal for every ten dependent trailer coaches.  Urinals shall be substituted for not more than one-third of the toilet fixtures required for men.  A one and one-half foot length of trough-type urinal shall be considered as one urinal.  Each water closet shall be a private compartment.  Toilet facilities for men and women shall be separated if in the same building by a sound resistant wall.  (Prior code Section 8-3-12)

15-8

15.24.080	Lavatories.  A lavatory for each sex shall be provided for every ten dependent trailer coaches, and a bath or shower for each sex shall be provided for every twenty dependent trailer coaches.  Each bath or shower shall be in a private compartment.  (Prior code Section 8-3-13)

15.24.090	Laundry facilities.  Laundry facilities shall be provided in the ratio of one unit for every twenty-trailer coach spaces.  Drying space in the ratio of fifty feet to each coach space or other clothes-drying facilities shall be provided to accommodate the laundry of the trailer court occupants.  A slop sink shall be provided in the service building.  (Prior code Section 8-3-14)

15.24.100	Water supply.  An adequate and safe supply of water under pressure shall be supplied to each trailer court.  The source and distribution system shall be approved by the health officer or authorized representative.  Each trailer coach space shall have a water supply outlet.  An adequate supply of hot and cold water shall be provided at all times in the service building.  (Prior code Section 8-3-20)

15.24.110	Refuse disposal.  The storage, collection and disposal of refuse in the court shall be in a manner so as not to create health hazards, rodent harborage, insect breeding areas, accident hazards or air pollution.  All refuse shall be stored in flytight, watertight, rodent proof containers, and such containers shall be provided of a number and capacity to prevent any refuse from overflowing on the ground.  Satisfactory container racks or holders shall be provided and located not more than one hundred fifty feet from any trailer coach space.  (Prior code Section 8-3-25)

15.24.120	Electricity.  An electrical outlet supplying at least one hundred ten volts shall be provided for each trailer coach space, and the installation shall be in compliance with all state and local electrical codes.  Such electrical outlets shall be weatherproof, and no power line shall be permitted to lie on the ground or be suspended less than ten feet above the ground.   (Prior code Section 8-3-30)

15.24.130	Fuel.

A.	Bottled gas for cooking purposes shall not be used at individual trailer coach spaces unless the containers are properly connected by copper or other suitable metallic tubing.  Bottled gas cylinders shall be securely fastened in place and adequately protected from the weather.

B.	No cylinder containing bottled gas shall be located in a trailer coach or within five feet of a door to a trailer coach.  (Prior code Section 8-3-35)

15.24.140	Alterations or additions to coaches.

A.	No permanent additions of any kind shall be built onto or become a part of any trailer coach.

B.	Skirting of coaches is permissible, but such skirting shall not

permanently attach the coach to the grounds, provide a harborage for rodents, or

create a fire hazard.

15-9

C.	The wheels of the coach shall not be removed except temporarily for repairs.

D.	Jacks or stabilizers may be placed under the frame of the coach to prevent movement on the springs while the coach is parked or occupied.  (Prior code section 8-3-40)

15.24.150	Registration of occupants.  Every trailer court owner or operator shall maintain a register containing a record of all trailer coaches and occupants using the trailer court.  Such register shall be available to any authorized person inspecting the court, and shall be preserved for the period required by the health officer.  The register shall contain:

A.	The names and addresses of all trailer coach occupants stopping in the court;

B.	The make, model and license number of each motor vehicle and trailer coach;

C.        The state, territory or county issuing registration to the vehicle and trailer                                       coach;

D.        The dates of arrival and departure of each trailer coach.  (Prior code Section 	8-3-45)

15.24.160	Reporting of communicable diseases.  Every owner, operator, attendant or other person operating a trailer court shall notify immediately the local health officer of any suspected communicable or contagious disease within the trailer court.  In the case of quarantinable diseases, so diagnosed by a physician, such owner, operator, attendant or other person operating a trailer court shall not permit the departure of a trailer coach or its occupants, or the removal therefrom of clothing or other articles which have been exposed to infection, without the approval of the health officer.  (Prior code Section 8-3-50)

15.24.170	Enforcement authority.  It shall be the duty of the health officer to enforce the regulations of this chapter, and for the purpose of securing enforcement of them, the health officer, or any person duly authorized by him, shall have the right to enter upon the premises of any trailer court within the town, to inspect the court and all accommodations connected to it.  (Prior code Section 8-3-55)

15.24.180	Subdivision and sanitation requirements.  Nothing in this chapter shall  be construed or interpreted to contradict the subdivision regulations as promulgated by Sanders County or the Town Council.  All requirements herein are in addition to the requirements of the subdivision and sanitation regulations.  Where conflicts arise the more stringent rules shall apply.

15-10